|  | ##### CLEARANCE CERTIFICATE WS1202 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ###### Project Name: | LBBD Survey | Description of Work | Borehole clearance |  | Date: | 29.03.2021 |  |
| Project No: | 2176 | Name of Surveyor | PW |  | No of staff on site | 2 |  |
| Client | Arcadis | Is the Risk of Strike (tick box) |  | HIGH RISK, IF YES please specify actions taken |  |  |  |
|  |  |  |  | MEDIUM RISK, IF YES please specify actions taken |  |  |  |
|  |  |  |  | LOW RISK, IF YES please specify actions taken |  |  |  |

| STEPS | HAZARDS | RISK HIGH / MED / LOW | HOW RO REDUCE OR ELIMINATE THE RISK | REMAINING RISK |
| --- | --- | --- | --- | --- |
| No risk identified. |  |  |  |  |

A NEW CLEARANCE CERTIFICATE IS REQUIRED EACH DAY – UPDATED IF ADDITONAL HAZARDS OR CIRCUMDTANCES CHANGE AND SAFE DIGGING PRACTISES MUST ALWAYS BE PERFORMED

| BEFORE WORK COMMENCES | CHECKLIST |
| --- | --- |
| As the contractor I confirm that I have carried out the works as agreed and discussed the hazards if any Signed: Date: 29.03.2021 | Clearance certificate fully completed YES All obvious hazards identified and precautions taken YES Certificate signed by client / representative whilst on site YES Did a near miss occur whilst on site NO IF CERTIFICATE IS NOT SIGNED OFF BY CLIENT WHISLT ON SITE, THEN IT WILL NEED TO BE EMAILED AND RETURNED SIGNED BY CLIENT |
| On behalf of the site, I have reviewed and agreed with the work arrangements Signed: Date: 29.03.21 |  |